## Slide 1: Solar Power

## Slide 2: Battery capacity & characterizing
The ability of a battery to supply with constant energy a given load for a given amount of time
Amp Hours (Ah)
  1Ah = 1A for 1 hour
  Ignores voltage change
  Assumes constant current load
Watt Hours (Wh)
  1Wh = 1W for 1 hour
  True capacity
  Takes voltage into account

## Slide 3: Discharging curve of an ideal battery
U, V
t, s
1.5
0

## Slide 4: Discharging curve
Brick wall response

## Slide 5: Is there really a huge difference between Ah & Wh?
Well, in the common case – not really.

## Slide 6: Discharging curve for the specific battery

## Slide 7
Demo